Hydro Capacity Addition Programme for 2024-25

| Sl. No. | Name of Project | State/ Implem. Agency | Unit No. | Capacity (MW) |  | Capacity Addition |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Target | Actual | As Programmed/ Anticipated |
| A | Hydro |  |  |  |  |  |
|  | Central Sector |  |  |  |  |  |
| 1 | Parbati-II /NHPC (4*200=800 MW) | Himachal Pradesh/NHPC | U-1to U-4 | 800 | 0 | Mar’'25 |
|  |  | Sub- total (Central): |  | 800 | 0 |  |
|  | State Sector |  |  |  |  |  |
| 1 | Pallivasal (2x30= 60 MW) | Kerala/ KSEB Ltd. | U-1 to U-2 | 60 | 0 | Mar'25 |
| 2 | Uhl-III (3*33.3=100 MW) | Himachal Pradesh/BVPCL | U-1 to U-3 | 100 | 0 | Mar’'25 |
| 3 | Thottiyar (1x30 + 1x10 = 40 MW) | Kerala/ KSEB Ltd. | U-1 to U-2 | 40 | 40 | Commissioned on 18.10.2024 |
|  |  | Sub- Total (State): |  | 200 | 40 |  |
| Total Hydro (CS+SS+PS) |  |  |  | 1000 | 40 |  |
| Total (PSP+Hydro) (FY 2024-25) |  |  |  | 1000 | 40 |  |