| QUESTIONNAIRE |
| --- |
| Name of the power line |  |
| Sr. No. | REQUIREMENT |  |
| 1.0 | Power supply data of the power system as per details below: |  |
| 1.1 | Key diagram (single line) of the electrical layout of the relevant portions of the power system, indicating the number, voltage, ratings, capacities etc., of the various power apparatus. Indicate also by dotted lines the extension proposed ultimately or through the current five-year plan. NOTE: By relevant is meant all the power stations, which under normal operating conditions will feed into a fault occurring within or outside the parallelism section as well as all lines on which such fault current would flow. |  |
| 1.2 | Data on the characteristics of equipments, viz. generators, transformers, reactors, synchronous condensers, earthing transformers, etc. installed in the system as per enclosed appendix (transient reactance figures should be given for all rotating machines). |  |
| 1.3 | Please state whether the neutral points of the power systems are (i) insulated, or (ii) earthed. If the latter, please indicate the type of earthing, e.g. solidly earthed, earthed through Peterson coils, earthed through resistance or reactance Give also full particulars. |  |
| 2.0 | Please supply the following data in respect of the particular power line for which approval is sought. |  |
| 2.1 | Name |  |
| 2.2 | Operating voltage and number of circuits |  |
| 2.3 | a) Length |  |
|  | b) Conductor/Earth wire size and material |  |
| 2.4 | If it is a tap or spur line, the length of the tap and the distance of the tapping point from the end sub-stations should be clearly indicated |  |
| 2.5 | Is the power line bussed at any intermediate substation? if so, please give details |  |
| 2.6 | Will the power line initially be charged at some lower voltage? |  |
| 2.7 | Probable date of commencing the construction |  |
| 2.8 | Probable date of commissioning |  |
| 2.9 | Date by which approval is desired |  |
| 3.0 | Please supply a route map showing proposed alignment of the power line and the paralleling telecommunication lines in the area, drawn to a scale of 1 cm = 0.5 kms or 1" = 1 mile. All topographical details including all railway lines, rivers, canals and important roads up to 8Kms on either side of the proposed power line may also be given to the scale. The Railway station should be located on the map and named. Note 1: If the proposed line is an extension of the existing line, which had been referred to the Committee previously; a similar route map of the existing line should also be supplied along with the route map of the proposed line. Note 2: A copy of the route map with telecom circuits marked be also sent to local DOT authorities, Defense and Railway authorities, requesting them to confirm the telecom circuit and also indicate the points of discontinuity in the telecom circuits to both the joint Secretaries the committee. |  |
| 3.1 | Number and date of the route map showing the proposed alignment |  |
| 4.0 | Sketch or sketches of supports showing the conductor and ground wire arrangements of the transmission line together with an indication of the sizes and materials of the various wires. |  |
| 5.0 | Please indicate the protective device adopted for the line. In respect of lines protected by circuit breakers, please furnish also the type of the lines and relaying proposed and the total time (Breaker and Relay) for clearance of ground faults on the line with normal relay settings. |  |
| 6.0 | Please indicate the soil resistively in the area covered by the line. The soil resistively should be measured by the four electrode method using an inter electrode spacing of 50 meters (150 feet). The measurements may be made at every 2 or 3 kms along with the length of the line. |  |
| 7.0 | Please indicate the number of crossings between the proposed alignment and the telecommunication lines involved and state if the crossing arrangements will be provided in accordance with the code of Practice for Crossings issued by the Power and Telecommunication Co-ordination Committee. |  |
| 8.0 | EPR details of End substations: |  |
|  | Name of Sub-station |  |
|  | New / Existing |  |
|  | Diagonal distance of earth mat in meters |  |
|  | Maximum fault current of Sub-station in Amps |  |
|  | Earth mat resistance in Ohms |  |
| 9.0 | Main line particulars in case of LILO / tap line |  |
| 9a | Whether any Railway lines are existing within 8 kms on either side of the power line |  |