## Annex-IV (hidden)
Annex-IV
State-wise List of Pumped Storage Potential
S.N. | Region/ Name of the Projects | Probable I.C. (MW) | District | River |  | On/Off River | Basin | Status | Remarks
|  |  |  | Upper Reservoir | Lower Reservoir
Northern Region
Himachal Pradesh
1 | Majra | 1800 | Kangra | Sarhyali Khad | Govind Sagar | On River | Indus | Yet to be allotted by the State for development
2 | Renukaji (Renuka) | 1630 | Sirmaur | Jogar ka Khala | Dadahu Storage | On River | Ganga | Preliminary Report Prepared | Agency-Himachal Pradesh Power Corporation Ltd.
2 | Total (Himachal Pradesh) | 3430
Jammu & Kashmir
1 | Matlimarg | 1650 | Udhampur | Sat Kol | Khawur | On River | Indus | Yet to be allotted by the State for development
1 | Total (Jammu & Kashmir) | 1650
Uttarakhand
1 | Tehri | 1000 | Tehri Garhwal | Bhagirathi river | Bhagirathi river | On River | Ganga | Under Active Construction | Likely to be Commissioned by 2022-2024 (June.'23)
2 | Jaspalgarh | 1935 | Garhwal | Rawasang river | Rawasang river | On River | Ganga | Yet to be allotted by the State for development
2 | Total (Uttarakhand) | 2935
Rajasthan
1 | Sukhpura Off-Stream | 2560 | Chittorgarh | Lat N 24°59'51.34" Long E 75°24'13.15" | Lat N 25°0'37.02" Long E75°22'53.28" | Off River (Closed Loop) | Ganga | Under S&I | Agency-Greenko
1 | Total (Rajasthan) | 2560
6 | Total (Northern Region) | 10575
Western Region
Maharashtra
1 | Humbarli | 400 | Satara | Vazarde(Tributary of Koyna River) |  | On River | EFR | PFR Prepared in Dec-19 | Existing Koyana Dam i.e. Shivsagar Reservoir at Koynanagar. -Agency-Water Resource Department (WRD), Maharashtra
2 | Ghatghar Stage-II | 125 | Ahmednagar | Pravara river | Shahi Nalla | On River | EFR | PFR Prepared in March-21 | -Use of both reservoirs of Ghatghar PSP St.I -Agency-WRD, Maharashtra
3 | Malshej Ghat | 700 | Ahmednagar/ Thane | Kalu river |  | On River | WFR | DPR Prepared in May-2010 | -Implementation agreement yet to be signed with Govt. of Maharashtra. -Agency-THDCL
4 | Mutkhel | 110 | Ahmednagar | Pravara |  | On River | EFR | PFR Prepared in May-15 | Agency-WRD, Maharashtra
5 | Warasgaon | 1200 | Raigad | Mose |  | On River | WFR | Under S&I | Agency-WRD, Maharashtra
6 | Bhira | 150 | Raigad | Mulla & Neela |  | On River | EFR | In Operation
7 | Ghatgar | 250 | Thana | Pravara |  | On River | EFR | In Operation
| Shirwata |  | Pune | Godavari |  |  | EFR | Under S&I Held Up | S&I to be taken up after finalization of MOA. Agency-TATA Power Ltd. |  | As per instructions of CE,HPPI (on 27.07.22)this project is removed from the list.
8 | Ulhas | 1000 | Kolaba/Pune | Kundli river | Ulhas river | On River | EFR/WFR | Yet to be allotted by the State for development
9 | Pinjal | 700 | Thane | Nasere river | Pinjal river | On River | WFR | Yet to be allotted by the State for development
10 | Kengadi | 1550 | Thane | Kengadi river | Bhatsa river | On River | WFR | Yet to be allotted by the State for development
11 | Jalond | 2400 | Thane | Mula river | Jalond river | On River | EFR/WFR | Yet to be allotted by the State for development
12 | Kolmondapada | 800 | Thane/Ahmednagar | Pravara river | Chornai river | On River | EFR/WFR | Yet to be allotted by the State for development
13 | Kalu | 1150 | Thane | Kalu river | Kalu river | On River | WFR | Yet to be allotted by the State for development
14 | Sidgarh | 1500 | Thane | Gohari river | Sidgarh river | On River | WFR | Yet to be allotted by the State for development
15 | Amba | 2500 | Pune | Lonauli Lake | Amba river | On River | EFR/WFR | Yet to be allotted by the State for development
16 | Chornai | 2000 | Ahmednagar | Pravara river | Chornai river | On River | EFR/WFR | Yet to be allotted by the State for development
17 | Savitri | 2250 | Satara | Krishna river | Savitri river | On River | EFR/WFR | Yet to be allotted by the State for development
18 | Madliwadi | 900 | Ratnagiri | Koyna river | Vatsala river | On River | EFR/WFR | Yet to be allotted by the State for development
19 | Baitarni | 1800 | Satara | Koyna river | Baitrani river | On River | EFR/WFR | Yet to be allotted by the State for development
20 | Morawadi | 2320 | Ratnagiri/Satara | Koyna river | Baitrani river | On River | EFR/WFR | Yet to be allotted by the State for development
21 | Gadgadi | 600 | Ratnagiri | Varna river | Gadgadi river | On River | EFR/WFR | Yet to be allotted by the State for development
22 | Kundi | 600 | Ratnagiri | Varna river | Nibera Vahal river | On River | EFR/WFR | Yet to be allotted by the State for development
23 | Aruna | 1950 | Kolhapur | Kumbli river | Aruna river | On River | EFR/WFR | Yet to be allotted by the State for development
24 | Kharari | 1050 | Ratnagiri/Kolhapur | Tamrapani river | Kharari river | On River | EFR/WFR | Yet to be allotted by the State for development
25 | Jalvara | 2000 | Ratnagiri/Belgaum | Hajatar river | Jalvara river | On River | WFR | Yet to be allotted by the State for development
26 | Koyna Left Bank | 80 | Satara | Koyna |  | On River | EFR | Construction is held up | Likely Commissioning by 2026-27
27 | Chikaldara | 400 | Amravati | Tributary of Datpadi River | Datpadi River | On River | EFR | PFR Prepared in March-2016 | Agency-WRD, Maharashtra
28 | Varandhghat | 800 | Pune | Welvandi River | Kharak River | On River | WFR | Preliminary Investigation Report prepared in Dec 16 | Agency-WRD, Maharashtra
29 | Panshet | 1600 | Satara | Mose River | Kal River | On River | WFR | Preliminary Investigation Report Prepared in March-17 | Agency-WRD, Maharashtra
30 | Nive | 1200 | Pune | Kundalika River | Kundalika River | On River | WFR | PFR Prepared in August-2015 | Agency-WRD, Maharashtra
31 | Kodali | 220 | Kolhapur | Kodali River | Kharal River | On River | WFR | PFR Prepared in April-2014 | Agency-WRD, Maharashtra
32 | Bhavali | 1500 | Nashik/ Thane | Darna | Ulhas river | On River | EFR | Under S&I | JSW Energy
32 | Total (Maharashtra) | 35805
Gujarat
1 | Kadana | 240 | Panchmahal | Mahi | Mahi | On River | CIR | In Operation | Not Working in Pumping Mode
2 | Sardar Sarover | 1200 | Baharuch | Narmada | Narmada | On River | CIR | In Operation | Not Working in Pumping Mode
2 | Total (Gujarat) | 1440
Madhya Pradesh
1 | MP30 Gandhi Sagar | 1440 | Neemach | Off the river | Chambal | Off River (Open Loop) | Ganga | Under S&I | Agency-Greenko
1 | Total (Madhya Pradesh) | 1440
35 | Total (Western Region) | 38685
Southern Region
Telangana
1 | Srisailam LBPH | 900 | Karnool | Krishna |  | On River | EFR | In Operation
2 | Nagarjunasagar | 705.6 | Nalgonda | Krishna river | Krishna river | On River | EFR | In Operation
2 | Total (Telangana) | 1605.6
Andhra Pradesh
1 | Tigaleru | 1650 | Kurnool | Nippulagundam Vagu | Chama-Vagu | On River | EFR | Yet to be allotted by the State for development
2 | Pinnapuram | 1200 | Kurnool | Near Gorakallu reservoir in Pannapuram Village Lat 15o36'26" N Long 78o15'13" E | In Pannapuram Village Lat 15o37'26" N Long 78o15'30" E | Off River (Closed Loop) | EFR | Under Active Construction | in CEA/CWC/GSI/CSMRS
3 | Upper Sileru | 1350 | Vishakhapatnam | Guntawada reservoir | Donkarayi reservoir | On River | EFR | Under S&I | Agency-APGENCO
4 | Gandikota | 1000 | Kadapa | Off Stream | Gandikota reservoir on Penna River | Off River (Open Loop) | EFR | Under S&I | Agency-NREDCAP
5 | Chitravathi | 500 | Ananthapuramu | Off Stream | Chitravathi | Off River (Open Loop) | EFR | Under S&I | Agency-NREDCAP
6 | Somasila | 900 | Kadapa | Off Stream | Off Stream, | Off River (Open Loop) | EFR | Under S&I | Agency-NREDCAP
7 | Owk | 800 | Kurnool | Off Stream | Owk reservoir on Penna River | Off River (Open Loop) | EFR | Under S&I | Agency-NREDCAP
8 | Kurukutti | 1200 | Vizianagaram | Minor nallah draining into Boduru Gedda river | Boduru Gedda river | On River | EFR | Under S&I | Agency-NREDCAP
9 | Karrivalasa | 1000 | Vizianagaram | Minor nallah draining into Boduru Gedda river | Boduru Gedda river | On River | EFR | Under S&I | Agency-NREDCAP
10 | Yerravaram PSP | 1200 | Vishakhapatnam | Nallah near Yerravaram village. | Nallah downstream of Yerravaram village. | On River | EFR | Under S&I | Agency-NREDCAP
11 | Paidipalem | 1200 | YSR | Off Stream | Paidipalem Balancing reservoir | Off River (Closed/Open Loop) (Since Lower Reservoir is still to be decided) | EFR | Under S&I | Agency-NREDCAP
12 | Singanamala | 800 | Ananthapuramu | Off Stream | Off Stream | Off River (Closed Loop) | EFR | Under S&I | Agency-NREDCAP
12 | Total (Andhra Pradesh) | 12800
Tamil Nadu
1 | Sillahalla St.-I | 1000 | Nilgiri | Sillahalla |  | On River | EFR | Under S&I | Agency-TANGEDCO
2 | Kundah Pumped Storage (Stage I,II,III&IV) | 500 | Nilgiri | Bhawani |  | On River | EFR | Under Active Construction | Likely to be Commissioned by 2023-2024
3 | Kadamparai | 400 | Coimbatore | Kadamparai river |  | On River | WFR | In Operation
4 | Nallar | 2700 | Coimbatore | Pakkapambar river | Nallar river | On River | WFR | Yet to be allotted by the State for development
5 | Kodayar | 500 | Kanyakumari | Kodayar |  | On River | WFR | Under S&I | Agency-TANGEDCO
6 | Velimalai | 200 | Kanyakumari |  |  | Off River (Closed/Open Loop) (Since Lower Reservoir is still to be decided) |  | PFR under preparation | Both reservoirs yet to be constructed Agency-TANGEDCO
6 | Total (Tamil Nadu) | 5300
Karnataka
1 | Varahi | 700 | Dakshina Kannada | Varahi |  | On River | WFR | Yet to be allotted by the State for development | - Existing Varahi pick-up Dam as upstream reservoir. - Lower reservoir to be constructed.
2 | Sharavathy | 2000 | Shivmoga & Uttara Kannada | Sharavathy |  | On River | WFR | Under S&I | -Existing Linganamakki Dam to form upper reservoir Gerusoppa Dam to form lower reservoir. - ToR clearance for CEA studies have been accorded by MoEF. -Agency-KPCL
3 | Saundatti | 1260 | Belgavi | Off the river (Malaprabha) | Malaprabha (Renuka Sagar Reservoir) | Off River (Open Loop) | EFR | Under S&I | Agency-Greenko
3 | Total (Karnataka) | 3960
Kerala
1 | Idukki | 300 | Idukki | Periyar/cheruthoni/Killi Valli Thodu |  | On River | WFR | Yet to be allotted by the State for development | Existing Idukki reservoir.
2 | Pallivasal | 600 | Idukki | Mudirapuzha |  | On River | WFR | Yet to be allotted by the State for development | Existing Palliavsal reservoir.
2 | Total (Kerala) | 900
25 | Total (Southern Region)* | 24565.6
Eastern Region
Jharkhand
1 | Lugupahar | 2800 | Hazaribagh | Damodar river | Bokaro river | On River | Ganga | Yet to be allotted by the State for development
2 | Boro | 500 | Bokaro | Konar river | Boro Nala | On River | Ganga | Yet to be allotted by the State for development |  | Project was earlier being taken in West Bengal since beginning
2 | Total (Jharkhand) | 3300
Bihar
1 | Sinafdar | 345 | Kaimur | Sura River | Sura River | On River | Ganga | PFR Prepared | Agency-BHPC (through NHPC)
2 | Panchgotia | 225 | Kaimur | Karsotha Nallah | Karsotha Nallah | On River | Ganga | PFR Prepared | Agency-BHPC (through NHPC)
2 | Toatl (Bihar) | 570
Odisha
1 | Upper Indravati | 600 | Kalahandi | Upper Indravati HEP reservoir | To be constructed | Off River (Open Loop) | EFR | Under S&I | -DPR is being prepared by WAPCOS. '-Agency-OHPCL
2 | Jharlama | 2500 | Sambalpur/Raipur | Jonk river | Son Nadi | On River | CIR | Yet to be allotted by the State for development
3 | Balimela | 500 | Malkangiri | Balimela |  | On River | EFR | Under S&I | Agency-OHPCL
4 | Upper Kolab | 320 | Koraput | Kolab |  | On River | EFR | Under S&I | Agency-OHPCL
4 | Total (Odisha) | 3920
West Bengal
1 | Kulbera | 1110 | Purulia | Rupai Nala | Kulbera Nala | On River | CIR | Yet to be allotted by the State for development
2 | Bandhu | 900 | Purulia | Bandhu Nala | Bandhu Nala | On River | Ganga | PFR under preparation | -Agency-WBSEDCL
3 | Panchet Hill | 600 | Purulia | Panchet Reservoir | Panchet Reservoir | On River | Ganga | Yet to be allotted by the State for development
4 | Purulia | 900 | Purulia | Kisto Bazar Nalla |  | On River | CIR | In Operation
5 | Turga PSS | 1000 | Purulia | Subernarekha |  | On River | CIR | Concurred | Agency- WBSEDCL
5 | Total (West Bengal) | 4510
13 | Total (Eastern Region) | 12300
North Eastern Region
Manipur
1 | Tuivai | 2100 | Churachandpur | Tuivai river | Tuivai river | On River | Brahmaputra | Yet to be allotted by the State for development
2 | Hengtam | 2250 | Churachandpur | Tuivai river | Tuivai river | On River | Brahmaputra | Yet to be allotted by the State for development
2 | Total (Manipur) | 4350
Assam
1 | Khuai Lui | 2100 |  | Pualhrang | Khuai Lui river | On River | Brahmaputra | Yet to be allotted by the State for development
1 | Total (Assam) | 2100
Mizoram
1 | Leiva Lui | 2100 | Aizawl | Pharsih river | Leiva Lui river | On River | Brahmaputra | Yet to be allotted by the State for development
2 | Pakwa | 1000 | Aizawl | Suangsau Lui river | Hawrhpup Lui river | On River | Brahmaputra | Yet to be allotted by the State for development
3 | Tuitho Lui | 1050 | Aizawl | Tuithing Lui river | Tuitholui river | On River | Brahmaputra | Yet to be allotted by the State for development
4 | Mat | 1400 | Aizawl | Lao Lui river | Mat river | On River | Brahmaputra | Yet to be allotted by the State for development
5 | Tuiphai Lui | 1650 | Aizawl | Tuiphai Lui river | Tuikual Lui river | On River | Brahmaputra | Yet to be allotted by the State for development
6 | Nghasih | 1250 | Lunglai | Khawiva Lui river | Nghasih Lui river | On River | Brahmaputra | Yet to be allotted by the State for development
7 | Daizo Lui | 2000 | Lunglai | Koladyne river | Daizolui river | On River | Brahmaputra | Yet to be allotted by the State for development
7 | Total (Mizoram) | 10450
10 | Total (North Eastern Region ) | 16900
89 | Total All India | 103025.6
EIA- Environmental Impact Assessment
EMP= Environmental Management Plan
NBWL= National Board for Wildlife
| THDCIL=Tehri Hydro Development Corporation India Limited |  |  |  |  | On River Projects |  | 77
| APGENCO=Andhra Pradesh Power Generation Corporation |  |  |  |  | Off River Projects | Open Loop | 7
| NREDCAP= New & Renewable Energy Development Corporation of AP Ltd | [5 empty] | Closed Loop | 3
| TANGEDCO=Tamil Nadu Generation and Distribution Corporation Limited | [5 empty] | Open/Closed Loop | 2
| KPCL= Karnataka Power Corporation Limited |  |  |  |  | Total |  | 89
NHPC=National Hydro Electric Power Corporation Limited
OHPCL=Odisha Hydro Power Corporation Ltd.
WBSEDCL= West Bengal State Electricity Distribution Company Limited
BHPC= Bihar State Hydroelectric Power Corporation ltd.
WFR=West Flowing Rivers of Peninsular India
EFR=East Flowing Rivers of Peninsular India
CIR=Central Indian River System
off river (Closed Loop ) meaning truly off river i.e both reservoir off the river and off river (Open loop) means one of the reservoir is on river
* Capacity of Nagarjuna Sagar revised to 705.6 MW ** Tehri PSP (in Uttarakhand) was identified for I.C. of 2100 MW but the project is being developed for I.C. of 1000 MW & Bandu PSP (in WB) was identified for I.C. of 1575 MW but the project IC is revised to 900 MW (as per NIP List).
Velimalai note- As per direction of CE(HEPR) , this project was taken in PFR stage

## On river, annex-IV(a)
State-wise Potential of ON River Pumped Storage Projects
S.N. | Region/ Name of the Projects | Probable I.C. (MW) | District | River |  | Status | Remarks
|  |  |  | Upper Reservoir | Lower Reservoir
Northern Region
Himachal Pradesh
1 | Majra | 700 | Kangra | Sarhyali Khad | Govind Sagar | Yet to be allotted by the State for development | Indicated by MoP to BBMB
2 | Renukaji (Renuka) | 1630 | Sirmaur | Jogar ka Khala | Dadahu Storage | Preliminary Report Prepared | HPPCL (Himachal Pradesh Power Corporation Ltd.)
2 | Total (Himachal Pradesh) | 2330
Uttarakhand
1 | Tehri | 1000 | Tehri Garhwal | Bhagirathi river | Bhagirathi river | Under Active Construction | Likely to be Commissioned by 2024-2025 (Oct.'24)
1 | Total (Uttarakhand) | 1000
3 | Total (Northern Region) | 3330
Western Region
Maharashtra
1 | Ghatghar Stage-II | 125 | Ahmednagar | Pravara river | Shahi Nalla | PFR Prepared in March-21 | Use of both reservoirs of Ghatghar PSP St.I Agency-WRD, Maharashtra
2 | Malshej Ghat | 700 | Ahmednagar/ Thane | Kalu river |  | Yet to be allotted by the State for development | Indicated by MoP to THDCIL Implementation agreement yet to be signed with Govt. of Maharashtra. DPR Prepared in May-2010
3 | Mutkhel | 110 | Ahmednagar | Pravara |  | PFR Prepared in May-15 | WRD, Maharashtra
4 | Warasgaon | 1200 | Pune/Raigad | Mose river | Kal river | S&I Held Up | •Agency-WRD, Maharashtra • No progress on S&I acitivities from more than 6 months
5 | Bhira | 150 | Raigad | Mulla & Neela |  | In Operation
6 | Ghatgar | 250 | Thana | Pravara |  | In Operation
7 | Kengadi | 1550 | Thane | Kengadi river | Bhatsa river | Yet to be allotted by the State for development | Indicated by MoP to NHPC
8 | Jalond | 2400 | Thane | Mula river | Jalond river | Yet to be allotted by the State for development | Indicated by MoP to NHPC
9 | Amba | 800 | Pune | Lonauli Lake | Amba river | Yet to be allotted by the State for development | Indicated by MoP to NTPC
10 | Jalvara | 2220 | Ratnagiri/Belgaum | Hajatar river | Jalvara river | Yet to be allotted by the State for development | Indicated by MoP to SJVNL
11 | Koyna Left Bank | 80 | Satara | Koyna |  | Construction is held up | Likely Commissioning by 2026-27
12 | Varandhghat | 800 | Pune | Welvandi River | Kharak River | Preliminary Investigation Report prepared in Dec 16 | WRD, Maharashtra
13 | Panshet | 1600 | Satara | Mose River | Kal River | Preliminary Investigation Report Prepared in March-17 | WRD, Maharashtra
14 | Nive | 1200 | Pune | Kundalika River | Kundalika River | PFR Prepared in August-2015 | WRD, Maharashtra
15 | Kodali | 220 | Kolhapur | Kodali River | Kharal River | PFR Prepared in April-2014 | WRD, Maharashtra
16 | Bhavali | 1500 | Nashik/ Thane | downstream of Bhavali Dam | Ulhas river | Under S&I | •Agency-JSW Energy •Target date of DPR preparation-06/24 •Date of MOA-14.09.2021
17 | Atvan | 500 | Pune/raigad | pawana | uttara | PFR prepared | WRD, Maharashtra
18 | Koyna St-VI | 400 | Satara | Koyna | Koyna | Yet to be allotted by the State for development | WRD, Maharashtra
19 | Savitri | 1800 | Raigad and Satara | proposed on the Koyna River (Tributary of Krishna River) | Proposed on the Savitri River near | Under S&I | •Agency-NHPC •Target date of DPR preparation-02/25
19 | Total (Maharashtra) | 17605
Gujarat
1 | Kadana | 240 | Panchmahal | Mahi | Mahi | In Operation | Not Working in Pumping Mode
2 | Sardar Sarover | 1200 | Baharuch | Narmada | Narmada | In Operation | Not Working in Pumping Mode
2 | Total (Gujarat) | 1440
Madhya Pradesh
1 | Indira Sagar-Omkareshwar PSP | 640 | Khandwa | ISP Reservoirr | Omkareshwar reservior | Under S&I | •Agency NHDC •Date of MOA-07.06.2023 •Target date of DPR preparation -12/25
1 | Total (Madhya Pradesh) | 640
22 | Total (Western Region) | 19685
Southern Region
Telangana
1 | Srisailam LBPH | 900 | Karnool | Krishna |  | In Operation
2 | Nagarjunasagar | 705.6 | Nalgonda | Krishna river | Krishna river | In Operation
2 | Total (Telangana) | 1605.6
Andhra Pradesh
1 | Upper Sileru | 1350 | Vishakhapatnam | Guntawada reservoir | Donkarayi reservoir | Under Construction | •Agency-APGENCO
2 | Kurukutti | 1200 | Vizianagaram | Minor nallah draining into Boduru Gedda river | Boduru Gedda river | S&I Held Up | •Agency- Adani Green •Project site (partly) falls within the disputed boundary between Govt. of Andhra Pradesh and Govt. of Odisha. Drilling Held up.
3 | Karrivalasa | 1000 | Vizianagaram | Minor nallah draining into Boduru Gedda river | Boduru Gedda river | S&I Held Up | •Agency- Adani Green •Project site (partly) falls within the disputed boundary between Govt. of Andhra Pradesh and Govt. of Odisha. Drilling Held up.
4 | Yerravaram PSP | 1200 | Vishakhapatnam | Nallah/Stream flowing into the Thandava reservoir, | Nallah/Stream flowing into the Thandava reservoir, | S&I Held Up | •Agency-Shirdi Sai Electricals Ltd. •S&I held up- Drilling activity will be commenced upon resolving local issues
4 | Total (Andhra Pradesh) | 4750
Tamil Nadu
1 | Sillahalla St.-I | 1000 | Nilgiri | Sillahalla |  | Under S&I | •Agency-TANGEDCO •Date of MOA-23.01.2019 •Target date of DPR Preparation-08/25
2 | Kundah Pumped Storage (Stage I,II,III&IV) | 500 | Nilgiri | Bhawani |  | Under Active Construction | Likely to be Commissioned by 2025-2026(July'25)
3 | Kadamparai | 400 | Coimbatore | Kadamparai river |  | In Operation
4 | Kodayar | 500 | Kanyakumari | Kodayar reservoir-existing | PWD’s Pechiparai reservoir- existing | S&I Held Up | • Agency- TANGEDCO •Pre-DPR Chapters returned after there is no progress in the S&I activities by the developer
5 | Sandynalla | 1200 | Nilgiris | Kundah | Kundah | Yet to be allotted by the State for development | Indicated by MoP to NTPC
6 | Upper Bhavani | 1000 | Nilgiris | Bhavani | Kundah | Yet to be allotted by the State for development | Indicated by MoP to NTPC
7 | Sigur | 800 | Nilgiris | Sigur | Sigur | Yet to be allotted by the State for development | Indicated by MoP to NTPC
8 | Manalar | 1200 | Theni | Existing Manalar Reservoir | Proposed | Feasibility report prepared | TANGEDCO along with Tractbel Pvt Ltd
9 | Chattar | 1100 | kanyakumari | Chattar Nallah | Kodayar | PFR prepared | TANGEDCO along with TATA Consultancy energy Pvt Ltd
10 | Karayar | 1000 | Tirunelveli District | Manpidi Ar | Thamirabarani | PFR prepared | TANGEDCO along with TATA Consultancy energy Pvt Ltd
11 | Aliyar | 700 | Coimbatore | Aliyar River |  | PFR prepared | PFR prepared by TANGEDCO
12 | Palar-Porathalar | 1100 | Dindigul | Poranthalar | Palar & Poranthalar | PFR prepared | TANGEDCO along with TATA Consultancy energy Pvt Ltd
13 | Athur | 300 | Dindigul | Kodaganar | Kodaganar | PFR prepared | TANGEDCO along with TATA Consultancy energy Pvt Ltd
14 | Manjalar | 500 | Theni | Iruttar River | Manjalar | PFR prepared | TANGEDCO along with TATA Consultancy energy Pvt Ltd
15 | Mettur | 1000 | Erode | Palar | Periya Pallam | PFR prepared | TANGEDCO along with TATA Consultancy energy Pvt Ltd
15 | Total (Tamil Nadu) | 12300
Karnataka
1 | Varahi | 1500 | Dakshina Kannada | Varahi |  | Govt. of Karnataka allotted to KPCL | Indicated by MoP and allotted by Govt. of Karnataka to KPCL. Existing Varahi pick-up Dam as upstream reservoir. Lower reservoir to be constructed.
2 | Sharavathy | 2000 | Shimoga & Uttara Kannada | Talakalale Reservoir-existing | Gerusappa Reservoir –existing | Under S&I | • Target date of DPR preparation-12/24 •Date of MoA-07.12.2017 • Agency-KPCL
2 | Total (Karnataka) | 3500
Kerala
1 | Idukki | 600 | Idukki | Periyar/cheruthoni/Killi Valli Thodu |  | Yet to be allotted by the State for development | Indicated by MoP to THDCIL Existing Idukki reservoir.
2 | Pallivasal | 600 | Idukki | Mudirapuzha |  | Yet to be allotted by the State for development | Indicated by MoP to THDCIL Existing Palliavsal reservoir.
2 | Total (Kerala) | 1200
25 | Total (Southern Region) | 23355.6
Eastern Region
Jharkhand
1 | Lugupahar | 1500 | Bokaro | Kairo Jharna Nala | across Bokaro River | S&I Held Up | •DVC letter dated 17.11.23 infromed that S&I activity on stalled since 10.09.23 due to local resistance at site • Agency- DVC
1 | Total (Jharkhand) | 1500
West Bengal
1 | Kulbera | 800 | Purulia | Rupai Nala | Kulbera Nala | Yet to be allotted by the State for development | Indicated by MoP to DVC
2 | Bandhu | 900 | Purulia | Bandhu Nala | Bandhu Nala | PFR under preparation | WBSEDCL
3 | Panchet Hill | 1000 | Purulia | Panchet Reservoir | Panchet Reservoir | Yet to be allotted by the State for development | Indicated by MoP to DVC
4 | Purulia | 900 | Purulia | Kisto Bazar Nalla |  | In Operation
5 | Turga PSS | 1000 | Purulia | Turga Nala |  | Concurred | WBSEDCL
6 | Kathlajal | 900 | Purulia | Kathlajal Nala |  | Yet to be taken up under S&I | •Agency- WBSEDCL
6 | Total (West Bengal) | 5500
7 | Total (Eastern Region) | 7000
North Eastern Region
Arunachal Pradesh
1 | Panyor | 660 | Lower Subansiri | Pit Nalah | Panyor / Ranganadi | Yet to be allotted by the State for development | Indicated by MoP to NEEPCO
1 | Total (Arunachal Pradesh) | 660
Assam
1 | Kopili | 320 | Dima Hasao | Khandong | Umrong | Yet to be allotted by the State for development | Indicated by MoP to NEEPCO
1 | Total (Assam) | 320
Mizoram
1 | Leiva Lui | 1500 | Aizawl | Pharsih river | Leiva Lui river | Yet to be allotted by the State for development | Indicated by MoP to NEEPCO
2 | Tuiphai Lui | 1650 | Aizawl | Tuiphai Lui river | Tuikual Lui river | Yet to be allotted by the State for development | Indicated by MoP to NEEPCO
3 | Nghasih | 400 | Lunglai | Khawiva Lui river | Nghasih Lui river | Yet to be allotted by the State for development | Indicated by MoP to NEEPCO
4 | Daizo Lui | 2000 | Lunglai | Koladyne river | Daizolui river | Yet to be allotted by the State for development | Indicated by MoP to SJVNL
4 | Total (Mizoram) | 5550
6 | Total (North Eastern Region ) | 6530
63 | Total All India (ON River) | 59900.6
EIA- Environmental Impact Assessment
EMP= Environmental Management Plan
NBWL= National Board for Wildlife

## off river, annex-IV(b)
State-wise Potential of OFF River Pumped Storage Projects
S.N. | Region/ Name of the Projects | Probable I.C. (MW) | District | River |  | Loop | Status | Agency/Remarks
|  |  |  | Upper Reservoir | Lower Reservoir
Northern Region
Himachal Pradesh
1 | Dhaulasidh( Sadda) | 180 | Hamirpur | at Sadda (in a Depression) | Dhaulasidh HEP Reservoir (for both the alternatives) | Open | Yet to be allotted by the State for development | •Indicated by MoP to SJVNL • PFR Prepared
2 | Koldam PSP-I &II | 2400 |  | to be constructed (off Stream) | Koldam reservoir | Open | Yet to be allotted by the State for development | •Indicated by MoP to NTPC(self identified) •PFR Prepared
3 | Lehri | 850 | Bilaspur |  | Bhakra reservoir |  | Yet to be allotted by the State for development | Indicated by MoP to BBMB(self identified)
4 | Raipur/Dobar Uparla | 1500 | Una | To be constructed | Bhakra reservoir |  | Yet to be allotted by the State for development | •Indicated by MoP to BBMB(self identified) •PFR prepared
4 | Total (Himachal Pradesh) | 4930
Rajasthan
1 | Sukhpura Off-Stream | 2560 | Chittorgarh | Off -stream | Off -stream | Closed | Under S&I | •Agency-Greenko •Target date of DPR preparation-12/24 •Date of MOA-24.01.2023
2 | Shahpur | 1800 | Baran | Off Stream | Off Stream, | Closed | Under S&I | •Agency-Greenko •Target date of DPR preparation-06/24 •Date of MOA-08.12.2021
3 | Sirohi | 1200 | Sirohi | Off Stream | off stream | Closed | Under S&I | •Agency-JSW Energy •Target date of DPR preparation-08/24 •Date of MOA-24.01.2022 (acknowledgment letter to LOI )
3 | Total (Rajasthan) | 5560
Uttar Pradesh
1 | Kandhaura | 1680 | Sonbhadra | Off Stream | Off Stream | Closed | Under S&I | •Agency-JSW Energy •Target date of DPR preparation-12/24 •Date of MOA-'25.11.2022 (MOU)
2 | Musakhand | 600 | Chandauli | Off Stream | Off Stream | Closed | Under S&I | •Agency- ACME Urja Two Private Limited •Target date of DPR preparation-02/25 •Date of MOA-'03.04.2023
3 | UP01 | 3660 | Sonbhadra | Off Stream | Off Stream | Closed | Under S&I | •Agency-Greenko •Target date of DPR preparation-08/24 •Date of MOA-01.02.2023
4 | Shoma | 2400 | Sonbhadra | Off Stream | Off Stream | Closed | Under S&I | •Agency-Torrent Power •Target date of DPR preparation-06/25 •Date of MOA-20.01.2023
4 | Total (Uttar Pradesh) | 8340
11 | Total (Northern Region) | 18830
Western Region
Madhya Pradesh
1 | MP30 Gandhi Sagar | 1920 | Neemach | Off Stream | Chambal | Open | Under S&I | • Target date of DPR preparation-05/24
2 | Tekwa-2 | 800 | Khargone | Off Stream | Off Stream | Closed | S&I Held Up | •Allotment pending •Agency- NHDC
3 | Satpura-2 | 1000 | Chhindwara | Latitude - 22.4043o Longitude - 78.8169o | Latitude - 22.4283o Longitude - 78.7933o | Closed | Yet to be allotted by the State for development | •Indicated by MoP to NHPC •PFR Prepared
3 | Total (Madhya Pradesh) | 3720
Maharashtra
1 | Kundi | 600 | Ratnagiri | Varna river | Nibera Vahal river | Open | Yet to be allotted by the State for development | Indicated by MoP to NTPC
2 | Pane | 1500 | Raigad | Off Stream | connected to a small stream which joins the downstream Kal river | open | Under S&I | •Agency-JSW Energy •Target date of DPR preparation-06/24 •Date of MOA-29.09.2022
3 | Tarali | 1500 | Satara | Off Stream | existing Tarali reservoir | open | Under S&I | •Agency-Adani Green Energy Ltd. •Target date of DPR preparation-06/24 •Date of MOA-28.06.2022
4 | Malshej Ghat Bhorande | 1500 | Pune & Thane | on Minor nallah draining into Kukadi river | on Minor nallah draining Into Kalu rive | Closed | Under S&I | •Agency-Adani Green Energy Ltd. •Target date of DPR preparation-12/24 •Date of MOA-28.06.2022
5 | Aruna | 1950 | Kolhapur | Kumbli river | Aruna river |  | Yet to be allotted by the State for development | •Indicated by MoP to THDCIL •PFR prepared
6 | Humbarli Birmani | 1000 | Satara/ Ratnagiri | minor nallah flowing to koyna river basin | On intial reaches of a nallah flowing to suk river |  | Yet to be allotted by the State for development | •Indicated by MoP to THDC •PFR prepared
7 | Shirwata | 1800 | Pune | offstream | existing Shirawata reservoir | open | Under S&I | • Target date ofDPR preparation-09/24 •Date of MOA- 08.08.2023 •Agency- TATA power
8 | Bhivpuri | 1000 | Raigad | existing Thokerwadi reservoir | offstream | open | Under S&I | • Target date ofDPR preparation-06/24 •Date of MOA- 08.08.2023 •Agency- TATA power
9 | Warasgaon Warangi | 1500 | Pune-Raigad | on minor nallah draining into Ambi river | on minor nallah draining into Kal river | open | Under S&I | • Target date ofDPR preparation-09/24 •Date of MOA- 28.06.2022 •Agency- Adani Green
10 | Patgaon | 2100 | Sindhudurg and Kolhapur | existing Patgaon reservoir | to be constructed on tributary of Karli river |  | S&I Held Up | •Agency-Adani Green Energy Ltd. • Adani letter dated 19.01.2024 vide which it was informed that the project elements such as powerhouse and lower reservoir are located in the area marked as Tiger Corridor by National Tiger Corridor Authority. Developer is identifying a new PSP site out side the National Tiger Corridor.
11 | Koyna Nivakane | 2700 | Satara | minor rivulet draining into Kera River/ Koyna river | minor rivulet draining into Kera River/ Koyna river | Closed | Under S&I | •Agency-Adani Green Energy Ltd. •Target Date of DPR preparation- 06/25 •Date of MOA-28.06.2022
12 | Nayagaon | 2000 | Chhatrapati Sambhajinagar | offstream | minor nallah draining into Hivra River | Closed | Under S&I | •Agency-Greenko •Target Date of DPR preparation- 06/25 •Date of MOA-16.01.2023
12 | Total (Maharashtra) | 19150
Chhattisgarh
1 | Dangari | 1400 | Jashpur | Bichri Nala | Goer river |  | Yet to be allotted by the State for development | •CSPGCL •Techno Commerical Feasibility Report (TCFR) has been prepared for IC of 1400 MW
2 | Rauni | 2100 | Raigarh | Kamarima Nala | Dorki Nadi |  | Yet to be allotted by the State for development | •CSPGCL •Techno Commerical Feasibility Report (TCFR) has been prepared for IC 2100 MW
2 | Total (Chhattisgarh) | 3500
17 | Total (Western Region) | 26370
Southern Region
Andhra Pradesh
1 | Pinnapuram | 1200 | Kurnool | Near Gorakallu reservoir in Pannapuram Village Lat 15o36'26" N Long 78o15'13" E | In Pannapuram Village Lat 15o37'26" N Long 78o15'30" E | Closed | Under Active Construction | Likely to be Commissioned by 2024-2025(Dec'24)
2 | Gandikota | 1000 | Kadapa | Off Stream | Gandikota reservoir on Penna River | Open | Under S&I | •Agency-Adani Green Energy Ltd. •Target date of DPR preparation-07/24 •Date of MOA-29.06.2022
3 | Chitravathi | 500 | Ananthapuramu | Off Stream | Chitravathi | Open | Under S&I | •Agency-Adani Green Energy Ltd. •Target date of DPR preparation-07/24 •Date of MOA-29.06.2022
4 | Somasila | 900 | Kadapa | Off Stream | Off Stream, | Open | Under S&I | •Agency-Shirdi Sai Electricals Ltd. •Target date of DPR preparation-09/24 •Date of MOA-19.01.2023
5 | Owk | 800 | Kurnool | Off Stream | Owk reservoir on Penna River | Open | Under S&I | •Agency-Aurobindo Realty & Infrastructure Pvt. Ltd. •Target date of DPR preparation-09/24 •Date of MOA-12.09.2022
6 | Paidipalem East | 1200 | YSR | new proposed Off Stream | new proposed draws water Paidipalem Balancing reservoir | Closed | Under S&I | •Agency-Indosol Solar Power Pvt. Ltd. •Target date of DPR preparation-09/24 •Date of MOA-12.09.2022
7 | Singanamala | 800 | Ananthapuramu | Off Stream | Off Stream | Closed | Under S&I | •Agency-Aurobindo Realty & Infrastructure Pvt. Ltd. •Target date of DPR preparation-09/24 •Date of MOA-12.09.2022
8 | Paidipalem North | 1000 | YSR | new proposed Off Stream | new proposed draws water Paidipalem Balancing reservoir | Closed | Under S&I | •Agency-Indosol Solar Power Pvt. Ltd. •Target date of DPR preparation-09/24 •Date of MOA-12.09.2022
9 | Veeraballi Off-Stream | 1800 | Annamayya | Off Stream | Off Stream | Closed | Under S&I | •UR & LR- both off stream •Agency-Astha Green Energy Ventures India PVT. LTD. •Target date of DPR preparation-08/24 •Date of MOA-12.09.2022
10 | Vempalli | 1500 | YSR Kadapa | Off Stream | Off Stream | Closed | Under S&I | •Agency-JSW Energy •Target date of DPR preparation-03/25 •Date of MOA-25.01.2022
11 | Gujjili | 1500 | Alluri Sitharama Raju | Off Stream | Off Stream | Closed | Under S&I | •Agency-NREDCAP •Target date of DPR preparation-03/25 •Date of MOA-25.01.2022
12 | Raiwada | 900 | Anakapalle | on a tabletop hill across a minor rivulet draining into a nallah | across Sarada river | Open | Under S&I | •Agency-Adani Green Energy Ltd. •Target date of DPR preparation-01/24 •Date of MOA-23.05.2022
13 | Chittamvalasa | 800 | Alluri Sitarama Raju | Off Stream | Off Stream | Closed | Under S&I | •Agency-NREDCAP •Target date of DPR preparation-08/24
14 | Yaganti | 1000 | Nandyal | Minor rivulet | Minor rivulet | Closed | Under S&I | •Agency-APGENCO •Target date of DPR preparation-08/24 •Date of MOA- 23.08.2023
15 | Kamalapadu | 950 | Ananthapuramu | Off Stream | Off Stream | Closed | Under S&I | •Agency-APGENCO •Target date of DPR preparation-08/24 •Date of MOA- 23.08.2023
16 | Aravetipalli | 1320 | YSR | Off Stream | Off Stream | Closed | Under S&I | •Agency-APSPCL •Target date of DPR preparation-08/24
17 | Rayavaram | 1500 | Annamayya | On minor Stream | On minor Stream | Closed | Under S&I | •Agency-NREDCAP •Target date of DPR preparation-06/25
18 | Gadikota | 1200 | Annamayya | Off Stream | Off Stream | Closed | Under S&I | •Agency-APGENCO •Target date of DPR preparation-06/25 •Date of MOA-31.01.2024 (letter from NREDCAP)
19 | Pedakota | 1800 | Alluri Seetharama Raju | on minor stream draining into the Sarada River | on minor stream draining into the Sarada River | Closed | Under S&I | •Agency-Adani Green •Target date of DPR preparation-06/25 •Date of MOA-23.05.2022
19 | Total (Andhra Pradesh) | 21670
Tamil Nadu
1 | Velimalai | 1100 | Kanyakumari | Palayar / Pazhayar | Valliyar |  | PFR Prepared | TANGEDCO along with TATA Consultancy energy Pvt Ltd
2 | Sillahalla Stage-II | 1000 | Nilgiris & Coimbtore | New Reservoir Lat 11°16'47.79" N Long 76°47'51.85" E | Bhavani | Open | Yet to be allotted by the State for development | Indicated by MoP to NTPC
2 | Total (Tamil Nadu) | 2100
Karnataka
1 | Saundatti | 1600 | Belgavi | Off the river | Malaprabha | Open | Under S&I | •Target date of DPR preparation-08/24 • Agency- Greenko
2 | Netravathy Stage I | 1500 | Hasan | Kaginahare | Kemphole | Open | Yet to be allotted by the State for development | •Indicated by MoP to NTPC •PFR prepared
3 | Narihalla | 300 | Bellary | proposed on minor rivulet draining into Narihalla Reservoir | Narihalla Reservoir existing on Narihalla River | Open | Under S&&I | •Agency-JSW Energy •Target date of DPR preparation-07/24 •Date of MOA-28.11.2022
3 | Total (Karnataka) | 3400
24 | Total (Southern Region) | 27170
Eastern Region
Odisha
1 | Upper Indravati | 600 | Kalahandi | Upper Indravati HEP reservoir | To be constructed | Open | Under S&I | •Date of MOA-15.01.2014 •DPR is being prepared by WAPCOS. •Agency-OHPCL •Target date of DPR preparation-06/24
2 | Balimela | 500 | Malkangiri | existing reservoir | to be constructed on Kharika Johra Stream | Open | Under S&I | •Target date of DPR preparation-12/24 •Date of MOA- 18.03.2021 • Agency- OHPCL
3 | Upper Kolab | 320 | Koraput | UKHEP-existing | Off Stream | Open | Under S&I | • Target date of DPR preparation-02/25 •Date of MOA- 29.03.2018 • Agency- OHPCL
3 | Total (Odisha) | 1420
3 | Total (Eastern Region) | 1420
55 | Total All India (Off River) | 73790

## State Wise Pumped Storage
As on 30.04.2024
PUMPED STORAGE POTENTIAL IN THE COUNTRY
| ON RIVER |  | OFF RIVER |  | TOTAL
Region/ State | No of projects | Installed capacity (MW) | No of projects | Installed capacity (MW) | No of projects | Installed capacity (MW)
NORTHERN
Himachal Pradesh | 2 | 2330 | 4 | 4930 | 6 | 7260
Rajasthan |  |  | 3 | 5560 | 3 | 5560
Uttarakhand | 1 | 1000 |  |  | 1 | 1000
Uttar Pradesh |  |  | 4 | 8340 | 4 | 8340
Sub Total (NR) | 3 | 3330 | 11 | 18830 | 14 | 22160
WESTERN
Madhya Pradesh | 1 | 640 | 3 | 3720 | 4 | 4360
Chhattisgarh |  |  | 2 | 3500 | 2 | 3500
Gujarat | 2 | 1440 |  |  | 2 | 1440
Maharashtra | 19 | 17605 | 12 | 19150 | 31 | 36755
Sub Total (WR) | 22 | 19685 | 17 | 26370 | 39 | 46055
SOUTHERN
Andhra Pradesh | 4 | 4750 | 19 | 21670 | 23 | 26420
Telangana | 2 | 1605.6 |  |  | 2 | 1605.6
Karnataka | 2 | 3500 | 3 | 3400 | 5 | 6900
Kerala | 2 | 1200 |  |  | 2 | 1200
Tamil Nadu | 15 | 12300 | 2 | 2100 | 17 | 14400
Sub Total (SR) | 25 | 23355.6 | 24 | 27170 | 49 | 50525.6
EASTERN
Jharkhand | 1 | 1500 |  |  | 1 | 1500
Odisha |  |  | 3 | 1420 | 3 | 1420
West Bengal | 6 | 5500 |  |  | 6 | 5500
Sub Total (ER) | 7 | 7000 | 3 | 1420 | 10 | 8420
NORTH EASTERN
Assam | 1 | 320 |  |  | 1 | 320
Arunachal Pradesh | 1 | 660 |  |  | 1 | 660
Mizoram | 4 | 5550 |  |  | 4 | 5550
Sub Total (NE) | 6 | 6530 | 0 | 0 | 6 | 6530
Grand Total | 63 | 59900.6 | 55 | 73790 | 118 | 133690.6